## Table
Data Report
File is created on: 2022-07-22 13:55:56
Device Information
Device Model | RC-5 |  | Logging Interval | 1H 0M 0S
Total Space | 32000 |  | Press Button | Disable
Start Time | 2022-06-13 12:28:01 |  | Temperature Unit | ℃
Storage Mode | Stop when full |  | Audible alarm | Disable
Button Tone | Disable |  | Auto-shorten Interval | Disable
Trip Description
Serial Number | EFE204104247
Trip Description | Norfolk 6
Alarm |  |  |  | Alarm Status
H1 60.0℃ |  |  |  | Normal
Unlimited
L1 -30.0℃ |  |  |  | Normal
Summary
Max | 45.6℃ |  | First Reading | 2022-06-13 12:28:01
Min | 13.6℃ |  | Last Reading | 2022-07-22 13:28:01
Avg | 20.8℃ |  | Logging Duration | 39D 1H 0M 0S
MKT (Mean Kinetic Temperature) | 24.0℃ |  | Current Readings | 938
First Alarm at (Temperature) | N/A
No. | Time | Temperature℃
1 | 2022-06-13 12:28:01 | 24.2
2 | 2022-06-13 13:28:01 | 22.5 | 16.496
3 | 2022-06-13 14:28:01 | 22.5
4 | 2022-06-13 15:28:01 | 22.2
5 | 2022-06-13 16:28:01 | 23.5
6 | 2022-06-13 17:28:01 | 27.7
7 | 2022-06-13 18:28:01 | 28.6
8 | 2022-06-13 19:28:01 | 27.7
9 | 2022-06-13 20:28:01 | 25.1
10 | 2022-06-13 21:28:01 | 23.1
11 | 2022-06-13 22:28:01 | 21.6
12 | 2022-06-13 23:28:01 | 20.9
13 | 2022-06-14 00:28:01 | 20
14 | 2022-06-14 01:28:01 | 19.2
15 | 2022-06-14 02:28:01 | 18.3
16 | 2022-06-14 03:28:01 | 17.5
17 | 2022-06-14 04:28:01 | 16.8
18 | 2022-06-14 05:28:01 | 16.3
19 | 2022-06-14 06:28:01 | 15.9
20 | 2022-06-14 07:28:01 | 15.8
21 | 2022-06-14 08:28:01 | 16
22 | 2022-06-14 09:28:01 | 17.4
23 | 2022-06-14 10:28:01 | 20.3
24 | 2022-06-14 11:28:01 | 22.3
25 | 2022-06-14 12:28:01 | 23.7
26 | 2022-06-14 13:28:01 | 25.5
27 | 2022-06-14 14:28:01 | 27.7
28 | 2022-06-14 15:28:01 | 29.1
29 | 2022-06-14 16:28:01 | 29.6
30 | 2022-06-14 17:28:01 | 27.8
31 | 2022-06-14 18:28:01 | 17.5
32 | 2022-06-14 19:28:01 | 17.4
33 | 2022-06-14 20:28:01 | 17.3
34 | 2022-06-14 21:28:01 | 17
35 | 2022-06-14 22:28:01 | 16.7
36 | 2022-06-14 23:28:01 | 16.2
37 | 2022-06-15 00:28:01 | 15.8
38 | 2022-06-15 01:28:01 | 15.4
39 | 2022-06-15 02:28:01 | 15.2
40 | 2022-06-15 03:28:01 | 15
41 | 2022-06-15 04:28:01 | 14.7
42 | 2022-06-15 05:28:01 | 14.7
43 | 2022-06-15 06:28:01 | 14.5
44 | 2022-06-15 07:28:01 | 14.6
45 | 2022-06-15 08:28:01 | 14.7
46 | 2022-06-15 09:28:01 | 15.3
47 | 2022-06-15 10:28:01 | 15.8
48 | 2022-06-15 11:28:01 | 16.7
49 | 2022-06-15 12:28:01 | 17.5
50 | 2022-06-15 13:28:01 | 18.1
51 | 2022-06-15 14:28:01 | 18.4
52 | 2022-06-15 15:28:01 | 18.4
53 | 2022-06-15 16:28:01 | 17.9
54 | 2022-06-15 17:28:01 | 17.6
55 | 2022-06-15 18:28:01 | 17.4
56 | 2022-06-15 19:28:01 | 17
57 | 2022-06-15 20:28:01 | 16.8
58 | 2022-06-15 21:28:01 | 16.6
59 | 2022-06-15 22:28:01 | 16.4
60 | 2022-06-15 23:28:01 | 16.2
61 | 2022-06-16 00:28:01 | 15.8
62 | 2022-06-16 01:28:01 | 15.6
63 | 2022-06-16 02:28:01 | 15.4
64 | 2022-06-16 03:28:01 | 15.3
65 | 2022-06-16 04:28:01 | 15.1
66 | 2022-06-16 05:28:01 | 14.9
67 | 2022-06-16 06:28:01 | 14.8
68 | 2022-06-16 07:28:01 | 14.7
69 | 2022-06-16 08:28:01 | 14.9
70 | 2022-06-16 09:28:01 | 15.4
71 | 2022-06-16 10:28:01 | 16
72 | 2022-06-16 11:28:01 | 16.9
73 | 2022-06-16 12:28:01 | 17.5
74 | 2022-06-16 13:28:01 | 18.3
75 | 2022-06-16 14:28:01 | 18.9
76 | 2022-06-16 15:28:01 | 19
77 | 2022-06-16 16:28:01 | 19
78 | 2022-06-16 17:28:01 | 18.8
79 | 2022-06-16 18:28:01 | 18.6
80 | 2022-06-16 19:28:01 | 18.2
81 | 2022-06-16 20:28:01 | 18.2
82 | 2022-06-16 21:28:01 | 17.9
83 | 2022-06-16 22:28:01 | 17.7
84 | 2022-06-16 23:28:01 | 17.3
85 | 2022-06-17 00:28:01 | 17
86 | 2022-06-17 01:28:01 | 16.9
87 | 2022-06-17 02:28:01 | 16.7
88 | 2022-06-17 03:28:01 | 16.7
89 | 2022-06-17 04:28:01 | 16.7
90 | 2022-06-17 05:28:01 | 16.6
91 | 2022-06-17 06:28:01 | 16.6
92 | 2022-06-17 07:28:01 | 16.7
93 | 2022-06-17 08:28:01 | 16.7
94 | 2022-06-17 09:28:01 | 17.1
95 | 2022-06-17 10:28:01 | 17.7
96 | 2022-06-17 11:28:01 | 18.1
97 | 2022-06-17 12:28:01 | 18.8
98 | 2022-06-17 13:28:01 | 19.5
99 | 2022-06-17 14:28:01 | 20.1
100 | 2022-06-17 15:28:01 | 20.5
101 | 2022-06-17 16:28:01 | 20.8
102 | 2022-06-17 17:28:01 | 20.9
103 | 2022-06-17 18:28:01 | 20.8
104 | 2022-06-17 19:28:01 | 20.6
105 | 2022-06-17 20:28:01 | 20.4
106 | 2022-06-17 21:28:01 | 20
107 | 2022-06-17 22:28:01 | 19.6
108 | 2022-06-17 23:28:01 | 19.2
109 | 2022-06-18 00:28:01 | 18.8
110 | 2022-06-18 01:28:01 | 18.4
111 | 2022-06-18 02:28:01 | 18.1
112 | 2022-06-18 03:28:01 | 17.8
113 | 2022-06-18 04:28:01 | 17.6
114 | 2022-06-18 05:28:01 | 17.5
115 | 2022-06-18 06:28:01 | 17.4
116 | 2022-06-18 07:28:01 | 17.4
117 | 2022-06-18 08:28:01 | 17.3
118 | 2022-06-18 09:28:01 | 17.2
119 | 2022-06-18 10:28:01 | 17.1
120 | 2022-06-18 11:28:01 | 17.1
121 | 2022-06-18 12:28:01 | 17
122 | 2022-06-18 13:28:01 | 17
123 | 2022-06-18 14:28:01 | 16.8
124 | 2022-06-18 15:28:01 | 16.7
125 | 2022-06-18 16:28:01 | 16.5
126 | 2022-06-18 17:28:01 | 16.5
127 | 2022-06-18 18:28:01 | 16.3
128 | 2022-06-18 19:28:01 | 16.1
129 | 2022-06-18 20:28:01 | 16
130 | 2022-06-18 21:28:01 | 15.9
131 | 2022-06-18 22:28:01 | 15.6
132 | 2022-06-18 23:28:01 | 15.4
133 | 2022-06-19 00:28:01 | 15.1
134 | 2022-06-19 01:28:01 | 14.7
135 | 2022-06-19 02:28:01 | 14.6
136 | 2022-06-19 03:28:01 | 14.5
137 | 2022-06-19 04:28:01 | 14.3
138 | 2022-06-19 05:28:01 | 14.2
139 | 2022-06-19 06:28:01 | 14
140 | 2022-06-19 07:28:01 | 14.1
141 | 2022-06-19 08:28:01 | 14.2
142 | 2022-06-19 09:28:01 | 14.5
143 | 2022-06-19 10:28:01 | 15
144 | 2022-06-19 11:28:01 | 15.5
145 | 2022-06-19 12:28:01 | 16
146 | 2022-06-19 13:28:01 | 16.4
147 | 2022-06-19 14:28:01 | 16.8
148 | 2022-06-19 15:28:01 | 17.1
149 | 2022-06-19 16:28:01 | 17
150 | 2022-06-19 17:28:01 | 16.9
151 | 2022-06-19 18:28:01 | 16.7
152 | 2022-06-19 19:28:01 | 16.4
153 | 2022-06-19 20:28:01 | 16
154 | 2022-06-19 21:28:01 | 15.6
155 | 2022-06-19 22:28:01 | 15.3
156 | 2022-06-19 23:28:01 | 15
157 | 2022-06-20 00:28:01 | 14.8
158 | 2022-06-20 01:28:01 | 14.7
159 | 2022-06-20 02:28:01 | 14.6
160 | 2022-06-20 03:28:01 | 14.5
161 | 2022-06-20 04:28:01 | 14.4
162 | 2022-06-20 05:28:01 | 14.3
163 | 2022-06-20 06:28:01 | 14.3
164 | 2022-06-20 07:28:01 | 14.2
165 | 2022-06-20 08:28:01 | 14.3
166 | 2022-06-20 09:28:01 | 14.6
167 | 2022-06-20 10:28:01 | 15
168 | 2022-06-20 11:28:01 | 15.7
169 | 2022-06-20 12:28:01 | 16.3
170 | 2022-06-20 13:28:01 | 16.9
171 | 2022-06-20 14:28:01 | 17.5
172 | 2022-06-20 15:28:01 | 17.6
173 | 2022-06-20 16:28:01 | 17.4
174 | 2022-06-20 17:28:01 | 17.3
175 | 2022-06-20 18:28:01 | 17.3
176 | 2022-06-20 19:28:01 | 17.3
177 | 2022-06-20 20:28:01 | 17
178 | 2022-06-20 21:28:01 | 16.5
179 | 2022-06-20 22:28:01 | 15.9
180 | 2022-06-20 23:28:01 | 15.4
181 | 2022-06-21 00:28:01 | 15.1
182 | 2022-06-21 01:28:01 | 14.8
183 | 2022-06-21 02:28:01 | 14.6
184 | 2022-06-21 03:28:01 | 14.4
185 | 2022-06-21 04:28:01 | 14.1
186 | 2022-06-21 05:28:01 | 14
187 | 2022-06-21 06:28:01 | 13.9
188 | 2022-06-21 07:28:01 | 13.9
189 | 2022-06-21 08:28:01 | 14
190 | 2022-06-21 09:28:01 | 14.6
191 | 2022-06-21 10:28:01 | 15.2
192 | 2022-06-21 11:28:01 | 16
193 | 2022-06-21 12:28:01 | 16.9
194 | 2022-06-21 13:28:01 | 17.6
195 | 2022-06-21 14:28:01 | 18.1
196 | 2022-06-21 15:28:01 | 18.5
197 | 2022-06-21 16:28:01 | 18.6
198 | 2022-06-21 17:28:01 | 18.4
199 | 2022-06-21 18:28:01 | 18.2
200 | 2022-06-21 19:28:01 | 18
201 | 2022-06-21 20:28:01 | 17.6
202 | 2022-06-21 21:28:01 | 17.2
203 | 2022-06-21 22:28:01 | 16.7
204 | 2022-06-21 23:28:01 | 16.3
205 | 2022-06-22 00:28:01 | 16
206 | 2022-06-22 01:28:01 | 15.6
207 | 2022-06-22 02:28:01 | 15.4
208 | 2022-06-22 03:28:01 | 15.2
209 | 2022-06-22 04:28:01 | 15
210 | 2022-06-22 05:28:01 | 14.7
211 | 2022-06-22 06:28:01 | 14.7
212 | 2022-06-22 07:28:01 | 14.7
213 | 2022-06-22 08:28:01 | 14.9
214 | 2022-06-22 09:28:01 | 15.4
215 | 2022-06-22 10:28:01 | 16
216 | 2022-06-22 11:28:01 | 16.7
217 | 2022-06-22 12:28:01 | 17.6
218 | 2022-06-22 13:28:01 | 18.4
219 | 2022-06-22 14:28:01 | 18.9
220 | 2022-06-22 15:28:01 | 18.8
221 | 2022-06-22 16:28:01 | 18.6
222 | 2022-06-22 17:28:01 | 18.5
223 | 2022-06-22 18:28:01 | 18.5
224 | 2022-06-22 19:28:01 | 18.4
225 | 2022-06-22 20:28:01 | 18.4
226 | 2022-06-22 21:28:01 | 18.3
227 | 2022-06-22 22:28:01 | 18
228 | 2022-06-22 23:28:01 | 17.4
229 | 2022-06-23 00:28:01 | 16.9
230 | 2022-06-23 01:28:01 | 16.6
231 | 2022-06-23 02:28:01 | 16.3
232 | 2022-06-23 03:28:01 | 16.1
233 | 2022-06-23 04:28:01 | 15.8
234 | 2022-06-23 05:28:01 | 15.6
235 | 2022-06-23 06:28:01 | 15.4
236 | 2022-06-23 07:28:01 | 15.4
237 | 2022-06-23 08:28:01 | 15.6
238 | 2022-06-23 09:28:01 | 16
239 | 2022-06-23 10:28:01 | 16.5
240 | 2022-06-23 11:28:01 | 17.1
241 | 2022-06-23 12:28:01 | 17.8
242 | 2022-06-23 13:28:01 | 18.5
243 | 2022-06-23 14:28:01 | 18.8
244 | 2022-06-23 15:28:01 | 18.8
245 | 2022-06-23 16:28:01 | 18.8
246 | 2022-06-23 17:28:01 | 18.8
247 | 2022-06-23 18:28:01 | 18.8
248 | 2022-06-23 19:28:01 | 18.8
249 | 2022-06-23 20:28:01 | 18.7
250 | 2022-06-23 21:28:01 | 18.8
251 | 2022-06-23 22:28:01 | 18.6
252 | 2022-06-23 23:28:01 | 18.1
253 | 2022-06-24 00:28:01 | 17.7
254 | 2022-06-24 01:28:01 | 17.4
255 | 2022-06-24 02:28:01 | 17.1
256 | 2022-06-24 03:28:01 | 16.9
257 | 2022-06-24 04:28:01 | 16.7
258 | 2022-06-24 05:28:01 | 16.6
259 | 2022-06-24 06:28:01 | 16.6
260 | 2022-06-24 07:28:01 | 16.6
261 | 2022-06-24 08:28:01 | 16.7
262 | 2022-06-24 09:28:01 | 16.8
263 | 2022-06-24 10:28:01 | 17.2
264 | 2022-06-24 11:28:01 | 17.7
265 | 2022-06-24 12:28:01 | 18
266 | 2022-06-24 13:28:01 | 18.6
267 | 2022-06-24 14:28:01 | 18.9
268 | 2022-06-24 15:28:01 | 19.1
269 | 2022-06-24 16:28:01 | 19
270 | 2022-06-24 17:28:01 | 18.8
271 | 2022-06-24 18:28:01 | 18.8
272 | 2022-06-24 19:28:01 | 18.7
273 | 2022-06-24 20:28:01 | 18.5
274 | 2022-06-24 21:28:01 | 18.2
275 | 2022-06-24 22:28:01 | 18
276 | 2022-06-24 23:28:01 | 17.7
277 | 2022-06-25 00:28:01 | 17.5
278 | 2022-06-25 01:28:01 | 17.2
279 | 2022-06-25 02:28:01 | 16.9
280 | 2022-06-25 03:28:01 | 16.8
281 | 2022-06-25 04:28:01 | 16.7
282 | 2022-06-25 05:28:01 | 16.6
283 | 2022-06-25 06:28:01 | 16.5
284 | 2022-06-25 07:28:01 | 16.4
285 | 2022-06-25 08:28:01 | 16.4
286 | 2022-06-25 09:28:01 | 16.7
287 | 2022-06-25 10:28:01 | 17.1
288 | 2022-06-25 11:28:01 | 17.6
289 | 2022-06-25 12:28:01 | 18.1
290 | 2022-06-25 13:28:01 | 18.5
291 | 2022-06-25 14:28:01 | 18.6
292 | 2022-06-25 15:28:01 | 18.4
293 | 2022-06-25 16:28:01 | 18.2
294 | 2022-06-25 17:28:01 | 18.2
295 | 2022-06-25 18:28:01 | 18
296 | 2022-06-25 19:28:01 | 17.9
297 | 2022-06-25 20:28:01 | 17.6
298 | 2022-06-25 21:28:01 | 17.2
299 | 2022-06-25 22:28:01 | 16.8
300 | 2022-06-25 23:28:01 | 16.5
301 | 2022-06-26 00:28:01 | 16.2
302 | 2022-06-26 01:28:01 | 16
303 | 2022-06-26 02:28:01 | 15.8
304 | 2022-06-26 03:28:01 | 15.7
305 | 2022-06-26 04:28:01 | 15.5
306 | 2022-06-26 05:28:01 | 15.3
307 | 2022-06-26 06:28:01 | 15.2
308 | 2022-06-26 07:28:01 | 15.1
309 | 2022-06-26 08:28:01 | 15.2
310 | 2022-06-26 09:28:01 | 15.5
311 | 2022-06-26 10:28:01 | 15.9
312 | 2022-06-26 11:28:01 | 16.5
313 | 2022-06-26 12:28:01 | 17
314 | 2022-06-26 13:28:01 | 17.4
315 | 2022-06-26 14:28:01 | 17.7
316 | 2022-06-26 15:28:01 | 18.4
317 | 2022-06-26 16:28:01 | 18.4
318 | 2022-06-26 17:28:01 | 18.3
319 | 2022-06-26 18:28:01 | 18.2
320 | 2022-06-26 19:28:01 | 17.9
321 | 2022-06-26 20:28:01 | 17.5
322 | 2022-06-26 21:28:01 | 17.1
323 | 2022-06-26 22:28:01 | 16.7
324 | 2022-06-26 23:28:01 | 16.2
325 | 2022-06-27 00:28:01 | 15.8
326 | 2022-06-27 01:28:01 | 15.5
327 | 2022-06-27 02:28:01 | 15.3
328 | 2022-06-27 03:28:01 | 15.1
329 | 2022-06-27 04:28:01 | 14.9
330 | 2022-06-27 05:28:01 | 14.7
331 | 2022-06-27 06:28:01 | 14.6
332 | 2022-06-27 07:28:01 | 14.6
333 | 2022-06-27 08:28:01 | 14.7
334 | 2022-06-27 09:28:01 | 15.2
335 | 2022-06-27 10:28:01 | 15.5
336 | 2022-06-27 11:28:01 | 16.2
337 | 2022-06-27 12:28:01 | 16.5
338 | 2022-06-27 13:28:01 | 16.8
339 | 2022-06-27 14:28:01 | 17
340 | 2022-06-27 15:28:01 | 17.2
341 | 2022-06-27 16:28:01 | 17
342 | 2022-06-27 17:28:01 | 16.8
343 | 2022-06-27 18:28:01 | 16.9
344 | 2022-06-27 19:28:01 | 16.7
345 | 2022-06-27 20:28:01 | 16.6
346 | 2022-06-27 21:28:01 | 16.4
347 | 2022-06-27 22:28:01 | 16
348 | 2022-06-27 23:28:01 | 15.7
349 | 2022-06-28 00:28:01 | 15.4
350 | 2022-06-28 01:28:01 | 15.1
351 | 2022-06-28 02:28:01 | 14.8
352 | 2022-06-28 03:28:01 | 14.6
353 | 2022-06-28 04:28:01 | 14.3
354 | 2022-06-28 05:28:01 | 14.1
355 | 2022-06-28 06:28:01 | 14
356 | 2022-06-28 07:28:01 | 13.9
357 | 2022-06-28 08:28:01 | 14
358 | 2022-06-28 09:28:01 | 14.3
359 | 2022-06-28 10:28:01 | 14.8
360 | 2022-06-28 11:28:01 | 15.4
361 | 2022-06-28 12:28:01 | 16
362 | 2022-06-28 13:28:01 | 16.7
363 | 2022-06-28 14:28:01 | 17
364 | 2022-06-28 15:28:01 | 17.3
365 | 2022-06-28 16:28:01 | 17.5
366 | 2022-06-28 17:28:01 | 17.4
367 | 2022-06-28 18:28:01 | 17.4
368 | 2022-06-28 19:28:01 | 17.1
369 | 2022-06-28 20:28:01 | 16.8
370 | 2022-06-28 21:28:01 | 16.5
371 | 2022-06-28 22:28:01 | 16
372 | 2022-06-28 23:28:01 | 15.8
373 | 2022-06-29 00:28:01 | 15.4
374 | 2022-06-29 01:28:01 | 15.2
375 | 2022-06-29 02:28:01 | 15
376 | 2022-06-29 03:28:01 | 14.8
377 | 2022-06-29 04:28:01 | 14.7
378 | 2022-06-29 05:28:01 | 14.7
379 | 2022-06-29 06:28:01 | 14.7
380 | 2022-06-29 07:28:01 | 14.7
381 | 2022-06-29 08:28:01 | 14.8
382 | 2022-06-29 09:28:01 | 15
383 | 2022-06-29 10:28:01 | 15.1
384 | 2022-06-29 11:28:01 | 15.3
385 | 2022-06-29 12:28:01 | 15.9
386 | 2022-06-29 13:28:01 | 16.2
387 | 2022-06-29 14:28:01 | 16.6
388 | 2022-06-29 15:28:01 | 17
389 | 2022-06-29 16:28:01 | 17.4
390 | 2022-06-29 17:28:01 | 17.4
391 | 2022-06-29 18:28:01 | 17.4
392 | 2022-06-29 19:28:01 | 17.5
393 | 2022-06-29 20:28:01 | 17.3
394 | 2022-06-29 21:28:01 | 17
395 | 2022-06-29 22:28:01 | 16.7
396 | 2022-06-29 23:28:01 | 16.4
397 | 2022-06-30 00:28:01 | 16.1
398 | 2022-06-30 01:28:01 | 16
399 | 2022-06-30 02:28:01 | 15.8
400 | 2022-06-30 03:28:01 | 15.6
401 | 2022-06-30 04:28:01 | 15.5
402 | 2022-06-30 05:28:01 | 15.4
403 | 2022-06-30 06:28:01 | 15.4
404 | 2022-06-30 07:28:01 | 15.3
405 | 2022-06-30 08:28:01 | 15.4
406 | 2022-06-30 09:28:01 | 15.7
407 | 2022-06-30 10:28:01 | 16
408 | 2022-06-30 11:28:01 | 16.2
409 | 2022-06-30 12:28:01 | 16.4
410 | 2022-06-30 13:28:01 | 16.6
411 | 2022-06-30 14:28:01 | 16.8
412 | 2022-06-30 15:28:01 | 16.9
413 | 2022-06-30 16:28:01 | 16.8
414 | 2022-06-30 17:28:01 | 16.7
415 | 2022-06-30 18:28:01 | 16.5
416 | 2022-06-30 19:28:01 | 16.4
417 | 2022-06-30 20:28:01 | 16.2
418 | 2022-06-30 21:28:01 | 16
419 | 2022-06-30 22:28:01 | 15.8
420 | 2022-06-30 23:28:01 | 15.5
421 | 2022-07-01 00:28:01 | 15.2
422 | 2022-07-01 01:28:01 | 15
423 | 2022-07-01 02:28:01 | 14.7
424 | 2022-07-01 03:28:01 | 14.6
425 | 2022-07-01 04:28:01 | 14.3
426 | 2022-07-01 05:28:01 | 14
427 | 2022-07-01 06:28:01 | 14
428 | 2022-07-01 07:28:01 | 13.9
429 | 2022-07-01 08:28:01 | 14
430 | 2022-07-01 09:28:01 | 14.2
431 | 2022-07-01 10:28:01 | 14.7
432 | 2022-07-01 11:28:01 | 15
433 | 2022-07-01 12:28:01 | 15.4
434 | 2022-07-01 13:28:01 | 15.8
435 | 2022-07-01 14:28:01 | 16
436 | 2022-07-01 15:28:01 | 16.2
437 | 2022-07-01 16:28:01 | 16.2
438 | 2022-07-01 17:28:01 | 16.3
439 | 2022-07-01 18:28:01 | 16.2
440 | 2022-07-01 19:28:01 | 16.2
441 | 2022-07-01 20:28:01 | 16
442 | 2022-07-01 21:28:01 | 16
443 | 2022-07-01 22:28:01 | 15.8
444 | 2022-07-01 23:28:01 | 15.5
445 | 2022-07-02 00:28:01 | 15.4
446 | 2022-07-02 01:28:01 | 15.1
447 | 2022-07-02 02:28:01 | 15
448 | 2022-07-02 03:28:01 | 14.7
449 | 2022-07-02 04:28:01 | 14.4
450 | 2022-07-02 05:28:01 | 14.2
451 | 2022-07-02 06:28:01 | 14.2
452 | 2022-07-02 07:28:01 | 14.1
453 | 2022-07-02 08:28:01 | 14.3
454 | 2022-07-02 09:28:01 | 14.6
455 | 2022-07-02 10:28:01 | 15.1
456 | 2022-07-02 11:28:01 | 15.6
457 | 2022-07-02 12:28:01 | 16
458 | 2022-07-02 13:28:01 | 16.5
459 | 2022-07-02 14:28:01 | 17
460 | 2022-07-02 15:28:01 | 16.9
461 | 2022-07-02 16:28:01 | 16.8
462 | 2022-07-02 17:28:01 | 16.9
463 | 2022-07-02 18:28:01 | 16.9
464 | 2022-07-02 19:28:01 | 16.9
465 | 2022-07-02 20:28:01 | 16.9
466 | 2022-07-02 21:28:01 | 16.8
467 | 2022-07-02 22:28:01 | 16.4
468 | 2022-07-02 23:28:01 | 16.1
469 | 2022-07-03 00:28:01 | 15.9
470 | 2022-07-03 01:28:01 | 15.7
471 | 2022-07-03 02:28:01 | 15.5
472 | 2022-07-03 03:28:01 | 15.4
473 | 2022-07-03 04:28:01 | 15.2
474 | 2022-07-03 05:28:01 | 15
475 | 2022-07-03 06:28:01 | 14.8
476 | 2022-07-03 07:28:01 | 14.8
477 | 2022-07-03 08:28:01 | 14.9
478 | 2022-07-03 09:28:01 | 15.2
479 | 2022-07-03 10:28:01 | 15.7
480 | 2022-07-03 11:28:01 | 16.2
481 | 2022-07-03 12:28:01 | 16.7
482 | 2022-07-03 13:28:01 | 17.2
483 | 2022-07-03 14:28:01 | 17.6
484 | 2022-07-03 15:28:01 | 17.6
485 | 2022-07-03 16:28:01 | 17.4
486 | 2022-07-03 17:28:01 | 17.2
487 | 2022-07-03 18:28:01 | 16.9
488 | 2022-07-03 19:28:01 | 16.6
489 | 2022-07-03 20:28:01 | 16.4
490 | 2022-07-03 21:28:01 | 16.2
491 | 2022-07-03 22:28:01 | 15.8
492 | 2022-07-03 23:28:01 | 15.5
493 | 2022-07-04 00:28:01 | 15.3
494 | 2022-07-04 01:28:01 | 15
495 | 2022-07-04 02:28:01 | 14.8
496 | 2022-07-04 03:28:01 | 14.7
497 | 2022-07-04 04:28:01 | 14.5
498 | 2022-07-04 05:28:01 | 14.3
499 | 2022-07-04 06:28:01 | 14.1
500 | 2022-07-04 07:28:01 | 14.1
501 | 2022-07-04 08:28:01 | 14.2
502 | 2022-07-04 09:28:01 | 14.6
503 | 2022-07-04 10:28:01 | 14.8
504 | 2022-07-04 11:28:01 | 15.2
505 | 2022-07-04 12:28:01 | 15.5
506 | 2022-07-04 13:28:01 | 16
507 | 2022-07-04 14:28:01 | 16.2
508 | 2022-07-04 15:28:01 | 16.6
509 | 2022-07-04 16:28:01 | 16.6
510 | 2022-07-04 17:28:01 | 16.6
511 | 2022-07-04 18:28:01 | 16.7
512 | 2022-07-04 19:28:01 | 16.6
513 | 2022-07-04 20:28:01 | 16.4
514 | 2022-07-04 21:28:01 | 16
515 | 2022-07-04 22:28:01 | 15.7
516 | 2022-07-04 23:28:01 | 15.4
517 | 2022-07-05 00:28:01 | 15
518 | 2022-07-05 01:28:01 | 14.7
519 | 2022-07-05 02:28:01 | 14.4
520 | 2022-07-05 03:28:01 | 14.1
521 | 2022-07-05 04:28:01 | 13.9
522 | 2022-07-05 05:28:01 | 13.7
523 | 2022-07-05 06:28:01 | 13.6
524 | 2022-07-05 07:28:01 | 13.7
525 | 2022-07-05 08:28:01 | 13.8
526 | 2022-07-05 09:28:01 | 14.1
527 | 2022-07-05 10:28:01 | 14.5
528 | 2022-07-05 11:28:01 | 14.8
529 | 2022-07-05 12:28:01 | 15.2
530 | 2022-07-05 13:28:01 | 15.8
531 | 2022-07-05 14:28:01 | 16.1
532 | 2022-07-05 15:28:01 | 16.6
533 | 2022-07-05 16:28:01 | 16.7
534 | 2022-07-05 17:28:01 | 16.7
535 | 2022-07-05 18:28:01 | 16.8
536 | 2022-07-05 19:28:01 | 15.8
537 | 2022-07-05 20:28:01 | 18.7
538 | 2022-07-05 21:28:01 | 20.2
539 | 2022-07-05 22:28:01 | 20.7
540 | 2022-07-05 23:28:01 | 20.6
541 | 2022-07-06 00:28:01 | 20.1
542 | 2022-07-06 01:28:01 | 19.3
543 | 2022-07-06 02:28:01 | 18.4
544 | 2022-07-06 03:28:01 | 17.4
545 | 2022-07-06 04:28:01 | 16.5
546 | 2022-07-06 05:28:01 | 15.7
547 | 2022-07-06 06:28:01 | 15
548 | 2022-07-06 07:28:01 | 14.5
549 | 2022-07-06 08:28:01 | 14.2
550 | 2022-07-06 09:28:01 | 14.2
551 | 2022-07-06 10:28:01 | 14.6
552 | 2022-07-06 11:28:01 | 15.6
553 | 2022-07-06 12:28:01 | 16.9
554 | 2022-07-06 13:28:01 | 19.1
555 | 2022-07-06 14:28:01 | 21.3
556 | 2022-07-06 15:28:01 | 22.9
557 | 2022-07-06 16:28:01 | 24.2
558 | 2022-07-06 17:28:01 | 25.6
559 | 2022-07-06 18:28:01 | 26.5
560 | 2022-07-06 19:28:01 | 26.8
561 | 2022-07-06 20:28:01 | 26.4
562 | 2022-07-06 21:28:01 | 25.8
563 | 2022-07-06 22:28:01 | 25
564 | 2022-07-06 23:28:01 | 24
565 | 2022-07-07 00:28:01 | 23.1
566 | 2022-07-07 01:28:01 | 22.2
567 | 2022-07-07 02:28:01 | 21.5
568 | 2022-07-07 03:28:01 | 20.8
569 | 2022-07-07 04:28:01 | 20.3
570 | 2022-07-07 05:28:01 | 19.8
571 | 2022-07-07 06:28:01 | 19.5
572 | 2022-07-07 07:28:01 | 19.3
573 | 2022-07-07 08:28:01 | 19.2
574 | 2022-07-07 09:28:01 | 19.4
575 | 2022-07-07 10:28:01 | 19.8
576 | 2022-07-07 11:28:01 | 20.1
577 | 2022-07-07 12:28:01 | 20.4
578 | 2022-07-07 13:28:01 | 20.9
579 | 2022-07-07 14:28:01 | 22
580 | 2022-07-07 15:28:01 | 24.2
581 | 2022-07-07 16:28:01 | 26.6
582 | 2022-07-07 17:28:01 | 27.8
583 | 2022-07-07 18:28:01 | 28
584 | 2022-07-07 19:28:01 | 27.7
585 | 2022-07-07 20:28:01 | 27.1
586 | 2022-07-07 21:28:01 | 26.4
587 | 2022-07-07 22:28:01 | 25.4
588 | 2022-07-07 23:28:01 | 24.4
589 | 2022-07-08 00:28:01 | 23.3
590 | 2022-07-08 01:28:01 | 22.2
591 | 2022-07-08 02:28:01 | 21.1
592 | 2022-07-08 03:28:01 | 20.2
593 | 2022-07-08 04:28:01 | 19.2
594 | 2022-07-08 05:28:01 | 18.3
595 | 2022-07-08 06:28:01 | 17.5
596 | 2022-07-08 07:28:01 | 16.9
597 | 2022-07-08 08:28:01 | 16.5
598 | 2022-07-08 09:28:01 | 17.1
599 | 2022-07-08 10:28:01 | 19.5
600 | 2022-07-08 11:28:01 | 22.5
601 | 2022-07-08 12:28:01 | 25.5
602 | 2022-07-08 13:28:01 | 28.5
603 | 2022-07-08 14:28:01 | 31.5
604 | 2022-07-08 15:28:01 | 34
605 | 2022-07-08 16:28:01 | 35.7
606 | 2022-07-08 17:28:01 | 35.7
607 | 2022-07-08 18:28:01 | 34.8
608 | 2022-07-08 19:28:01 | 33.2
609 | 2022-07-08 20:28:01 | 31.7
610 | 2022-07-08 21:28:01 | 31
611 | 2022-07-08 22:28:01 | 30.4
612 | 2022-07-08 23:28:01 | 29.1
613 | 2022-07-09 00:28:01 | 27.7
614 | 2022-07-09 01:28:01 | 26.2
615 | 2022-07-09 02:28:01 | 24.7
616 | 2022-07-09 03:28:01 | 23.4
617 | 2022-07-09 04:28:01 | 22.1
618 | 2022-07-09 05:28:01 | 20.9
619 | 2022-07-09 06:28:01 | 19.8
620 | 2022-07-09 07:28:01 | 18.9
621 | 2022-07-09 08:28:01 | 18.3
622 | 2022-07-09 09:28:01 | 18
623 | 2022-07-09 10:28:01 | 18
624 | 2022-07-09 11:28:01 | 18.3
625 | 2022-07-09 12:28:01 | 18.8
626 | 2022-07-09 13:28:01 | 19.5
627 | 2022-07-09 14:28:01 | 21.1
628 | 2022-07-09 15:28:01 | 24.3
629 | 2022-07-09 16:28:01 | 27.8
630 | 2022-07-09 17:28:01 | 31
631 | 2022-07-09 18:28:01 | 33.4
632 | 2022-07-09 19:28:01 | 34.7
633 | 2022-07-09 20:28:01 | 33.9
634 | 2022-07-09 21:28:01 | 32.3
635 | 2022-07-09 22:28:01 | 30.5
636 | 2022-07-09 23:28:01 | 28.6
637 | 2022-07-10 00:28:01 | 26.9
638 | 2022-07-10 01:28:01 | 25.2
639 | 2022-07-10 02:28:01 | 23.6
640 | 2022-07-10 03:28:01 | 22.2
641 | 2022-07-10 04:28:01 | 20.9
642 | 2022-07-10 05:28:01 | 19.7
643 | 2022-07-10 06:28:01 | 18.7
644 | 2022-07-10 07:28:01 | 18
645 | 2022-07-10 08:28:01 | 17.5
646 | 2022-07-10 09:28:01 | 18.3
647 | 2022-07-10 10:28:01 | 20.8
648 | 2022-07-10 11:28:01 | 24.4
649 | 2022-07-10 12:28:01 | 27.7
650 | 2022-07-10 13:28:01 | 31
651 | 2022-07-10 14:28:01 | 33.9
652 | 2022-07-10 15:28:01 | 35.9
653 | 2022-07-10 16:28:01 | 37.4
654 | 2022-07-10 17:28:01 | 37.3
655 | 2022-07-10 18:28:01 | 36.2
656 | 2022-07-10 19:28:01 | 35
657 | 2022-07-10 20:28:01 | 33.7
658 | 2022-07-10 21:28:01 | 32.3
659 | 2022-07-10 22:28:01 | 30.8
660 | 2022-07-10 23:28:01 | 29.3
661 | 2022-07-11 00:28:01 | 27.8
662 | 2022-07-11 01:28:01 | 26.3
663 | 2022-07-11 02:28:01 | 24.9
664 | 2022-07-11 03:28:01 | 23.5
665 | 2022-07-11 04:28:01 | 22.3
666 | 2022-07-11 05:28:01 | 21.2
667 | 2022-07-11 06:28:01 | 20.2
668 | 2022-07-11 07:28:01 | 19.4
669 | 2022-07-11 08:28:01 | 19
670 | 2022-07-11 09:28:01 | 20
671 | 2022-07-11 10:28:01 | 22.9
672 | 2022-07-11 11:28:01 | 26.5
673 | 2022-07-11 12:28:01 | 30.1
674 | 2022-07-11 13:28:01 | 33.2
675 | 2022-07-11 14:28:01 | 36
676 | 2022-07-11 15:28:01 | 38.5
677 | 2022-07-11 16:28:01 | 39.9
678 | 2022-07-11 17:28:01 | 39.8
679 | 2022-07-11 18:28:01 | 38.5
680 | 2022-07-11 19:28:01 | 37.3
681 | 2022-07-11 20:28:01 | 36
682 | 2022-07-11 21:28:01 | 34.4
683 | 2022-07-11 22:28:01 | 32.8
684 | 2022-07-11 23:28:01 | 31.2
685 | 2022-07-12 00:28:01 | 29.5
686 | 2022-07-12 01:28:01 | 28
687 | 2022-07-12 02:28:01 | 26.6
688 | 2022-07-12 03:28:01 | 25.4
689 | 2022-07-12 04:28:01 | 24.1
690 | 2022-07-12 05:28:01 | 23.1
691 | 2022-07-12 06:28:01 | 22.2
692 | 2022-07-12 07:28:01 | 21.5
693 | 2022-07-12 08:28:01 | 21.2
694 | 2022-07-12 09:28:01 | 21.6
695 | 2022-07-12 10:28:01 | 22.5
696 | 2022-07-12 11:28:01 | 24
697 | 2022-07-12 12:28:01 | 26.4
698 | 2022-07-12 13:28:01 | 28.7
699 | 2022-07-12 14:28:01 | 30.2
700 | 2022-07-12 15:28:01 | 30.8
701 | 2022-07-12 16:28:01 | 31.2
702 | 2022-07-12 17:28:01 | 31.5
703 | 2022-07-12 18:28:01 | 31.4
704 | 2022-07-12 19:28:01 | 31
705 | 2022-07-12 20:28:01 | 30.5
706 | 2022-07-12 21:28:01 | 29.8
707 | 2022-07-12 22:28:01 | 29
708 | 2022-07-12 23:28:01 | 28.2
709 | 2022-07-13 00:28:01 | 27.4
710 | 2022-07-13 01:28:01 | 26.7
711 | 2022-07-13 02:28:01 | 25.9
712 | 2022-07-13 03:28:01 | 25.1
713 | 2022-07-13 04:28:01 | 24.5
714 | 2022-07-13 05:28:01 | 23.9
715 | 2022-07-13 06:28:01 | 23.4
716 | 2022-07-13 07:28:01 | 22.9
717 | 2022-07-13 08:28:01 | 22.8
718 | 2022-07-13 09:28:01 | 22.9
719 | 2022-07-13 10:28:01 | 23.5
720 | 2022-07-13 11:28:01 | 25.4
721 | 2022-07-13 12:28:01 | 27.4
722 | 2022-07-13 13:28:01 | 29
723 | 2022-07-13 14:28:01 | 31.3
724 | 2022-07-13 15:28:01 | 33.8
725 | 2022-07-13 16:28:01 | 35.2
726 | 2022-07-13 17:28:01 | 35.1
727 | 2022-07-13 18:28:01 | 34.4
728 | 2022-07-13 19:28:01 | 33.2
729 | 2022-07-13 20:28:01 | 32.1
730 | 2022-07-13 21:28:01 | 31
731 | 2022-07-13 22:28:01 | 30.2
732 | 2022-07-13 23:28:01 | 29
733 | 2022-07-14 00:28:01 | 27.7
734 | 2022-07-14 01:28:01 | 26.4
735 | 2022-07-14 02:28:01 | 25
736 | 2022-07-14 03:28:01 | 23.6
737 | 2022-07-14 04:28:01 | 22.4
738 | 2022-07-14 05:28:01 | 21.2
739 | 2022-07-14 06:28:01 | 20.1
740 | 2022-07-14 07:28:01 | 19.2
741 | 2022-07-14 08:28:01 | 18.6
742 | 2022-07-14 09:28:01 | 19.6
743 | 2022-07-14 10:28:01 | 23.1
744 | 2022-07-14 11:28:01 | 27.1
745 | 2022-07-14 12:28:01 | 29.8
746 | 2022-07-14 13:28:01 | 33
747 | 2022-07-14 14:28:01 | 36.2
748 | 2022-07-14 15:28:01 | 38.4
749 | 2022-07-14 16:28:01 | 39.1
750 | 2022-07-14 17:28:01 | 38.9
751 | 2022-07-14 18:28:01 | 37.6
752 | 2022-07-14 19:28:01 | 35.5
753 | 2022-07-14 20:28:01 | 33.3
754 | 2022-07-14 21:28:01 | 31.4
755 | 2022-07-14 22:28:01 | 29.4
756 | 2022-07-14 23:28:01 | 27.5
757 | 2022-07-15 00:28:01 | 25.7
758 | 2022-07-15 01:28:01 | 24
759 | 2022-07-15 02:28:01 | 22.5
760 | 2022-07-15 03:28:01 | 21.1
761 | 2022-07-15 04:28:01 | 19.8
762 | 2022-07-15 05:28:01 | 18.7
763 | 2022-07-15 06:28:01 | 17.6
764 | 2022-07-15 07:28:01 | 16.7
765 | 2022-07-15 08:28:01 | 16.1
766 | 2022-07-15 09:28:01 | 16.8
767 | 2022-07-15 10:28:01 | 19.3
768 | 2022-07-15 11:28:01 | 22.5
769 | 2022-07-15 12:28:01 | 25.7
770 | 2022-07-15 13:28:01 | 28.7
771 | 2022-07-15 14:28:01 | 31.4
772 | 2022-07-15 15:28:01 | 32.5
773 | 2022-07-15 16:28:01 | 32.5
774 | 2022-07-15 17:28:01 | 33.4
775 | 2022-07-15 18:28:01 | 34.5
776 | 2022-07-15 19:28:01 | 34.1
777 | 2022-07-15 20:28:01 | 32.5
778 | 2022-07-15 21:28:01 | 30.7
779 | 2022-07-15 22:28:01 | 28.9
780 | 2022-07-15 23:28:01 | 27.1
781 | 2022-07-16 00:28:01 | 25.4
782 | 2022-07-16 01:28:01 | 24
783 | 2022-07-16 02:28:01 | 22.7
784 | 2022-07-16 03:28:01 | 21.4
785 | 2022-07-16 04:28:01 | 20.2
786 | 2022-07-16 05:28:01 | 19.1
787 | 2022-07-16 06:28:01 | 18
788 | 2022-07-16 07:28:01 | 17.2
789 | 2022-07-16 08:28:01 | 16.7
790 | 2022-07-16 09:28:01 | 17.8
791 | 2022-07-16 10:28:01 | 21
792 | 2022-07-16 11:28:01 | 24.8
793 | 2022-07-16 12:28:01 | 28.5
794 | 2022-07-16 13:28:01 | 31.6
795 | 2022-07-16 14:28:01 | 34.2
796 | 2022-07-16 15:28:01 | 36.8
797 | 2022-07-16 16:28:01 | 38.5
798 | 2022-07-16 17:28:01 | 38
799 | 2022-07-16 18:28:01 | 36.6
800 | 2022-07-16 19:28:01 | 35.2
801 | 2022-07-16 20:28:01 | 33.5
802 | 2022-07-16 21:28:01 | 31.8
803 | 2022-07-16 22:28:01 | 30.1
804 | 2022-07-16 23:28:01 | 28.4
805 | 2022-07-17 00:28:01 | 26.8
806 | 2022-07-17 01:28:01 | 25.3
807 | 2022-07-17 02:28:01 | 23.9
808 | 2022-07-17 03:28:01 | 22.6
809 | 2022-07-17 04:28:01 | 21.4
810 | 2022-07-17 05:28:01 | 20.2
811 | 2022-07-17 06:28:01 | 19.2
812 | 2022-07-17 07:28:01 | 18.3
813 | 2022-07-17 08:28:01 | 17.9
814 | 2022-07-17 09:28:01 | 18.9
815 | 2022-07-17 10:28:01 | 21.8
816 | 2022-07-17 11:28:01 | 25.4
817 | 2022-07-17 12:28:01 | 28.6
818 | 2022-07-17 13:28:01 | 31.7
819 | 2022-07-17 14:28:01 | 33.9
820 | 2022-07-17 15:28:01 | 35.1
821 | 2022-07-17 16:28:01 | 36.3
822 | 2022-07-17 17:28:01 | 36.1
823 | 2022-07-17 18:28:01 | 35.3
824 | 2022-07-17 19:28:01 | 34.2
825 | 2022-07-17 20:28:01 | 33
826 | 2022-07-17 21:28:01 | 31.7
827 | 2022-07-17 22:28:01 | 30.3
828 | 2022-07-17 23:28:01 | 28.7
829 | 2022-07-18 00:28:01 | 27.1
830 | 2022-07-18 01:28:01 | 25.5
831 | 2022-07-18 02:28:01 | 24.1
832 | 2022-07-18 03:28:01 | 22.9
833 | 2022-07-18 04:28:01 | 21.6
834 | 2022-07-18 05:28:01 | 20.5
835 | 2022-07-18 06:28:01 | 19.6
836 | 2022-07-18 07:28:01 | 18.8
837 | 2022-07-18 08:28:01 | 18.5
838 | 2022-07-18 09:28:01 | 19.8
839 | 2022-07-18 10:28:01 | 23.3
840 | 2022-07-18 11:28:01 | 27.6
841 | 2022-07-18 12:28:01 | 31.8
842 | 2022-07-18 13:28:01 | 35.9
843 | 2022-07-18 14:28:01 | 38.9
844 | 2022-07-18 15:28:01 | 41.2
845 | 2022-07-18 16:28:01 | 42.3
846 | 2022-07-18 17:28:01 | 42.1
847 | 2022-07-18 18:28:01 | 41
848 | 2022-07-18 19:28:01 | 39.8
849 | 2022-07-18 20:28:01 | 38.5
850 | 2022-07-18 21:28:01 | 37
851 | 2022-07-18 22:28:01 | 35.3
852 | 2022-07-18 23:28:01 | 33.4
853 | 2022-07-19 00:28:01 | 31.6
854 | 2022-07-19 01:28:01 | 29.8
855 | 2022-07-19 02:28:01 | 28.2
856 | 2022-07-19 03:28:01 | 26.8
857 | 2022-07-19 04:28:01 | 25.5
858 | 2022-07-19 05:28:01 | 24.4
859 | 2022-07-19 06:28:01 | 23.4
860 | 2022-07-19 07:28:01 | 22.7
861 | 2022-07-19 08:28:01 | 22.4
862 | 2022-07-19 09:28:01 | 23.7
863 | 2022-07-19 10:28:01 | 27.1
864 | 2022-07-19 11:28:01 | 31.3
865 | 2022-07-19 12:28:01 | 35.5
866 | 2022-07-19 13:28:01 | 39.3
867 | 2022-07-19 14:28:01 | 42.4
868 | 2022-07-19 15:28:01 | 44.4
869 | 2022-07-19 16:28:01 | 45.6
870 | 2022-07-19 17:28:01 | 44.7
871 | 2022-07-19 18:28:01 | 43
872 | 2022-07-19 19:28:01 | 41.2
873 | 2022-07-19 20:28:01 | 39.1
874 | 2022-07-19 21:28:01 | 36.9
875 | 2022-07-19 22:28:01 | 34.9
876 | 2022-07-19 23:28:01 | 32.9
877 | 2022-07-20 00:28:01 | 30.9
878 | 2022-07-20 01:28:01 | 29
879 | 2022-07-20 02:28:01 | 27.3
880 | 2022-07-20 03:28:01 | 25.8
881 | 2022-07-20 04:28:01 | 24.7
882 | 2022-07-20 05:28:01 | 23.7
883 | 2022-07-20 06:28:01 | 22.9
884 | 2022-07-20 07:28:01 | 22.2
885 | 2022-07-20 08:28:01 | 21.9
886 | 2022-07-20 09:28:01 | 21.8
887 | 2022-07-20 10:28:01 | 22.8
888 | 2022-07-20 11:28:01 | 25.3
889 | 2022-07-20 12:28:01 | 25.4
890 | 2022-07-20 13:28:01 | 25.4
891 | 2022-07-20 14:28:01 | 25.7
892 | 2022-07-20 15:28:01 | 25.8
893 | 2022-07-20 16:28:01 | 25.9
894 | 2022-07-20 17:28:01 | 26
895 | 2022-07-20 18:28:01 | 26.1
896 | 2022-07-20 19:28:01 | 26.2
897 | 2022-07-20 20:28:01 | 26.2
898 | 2022-07-20 21:28:01 | 26.2
899 | 2022-07-20 22:28:01 | 26.2
900 | 2022-07-20 23:28:01 | 26.2
901 | 2022-07-21 00:28:01 | 26.2
902 | 2022-07-21 01:28:01 | 25.8
903 | 2022-07-21 02:28:01 | 25.4
904 | 2022-07-21 03:28:01 | 24.9
905 | 2022-07-21 04:28:01 | 24.5
906 | 2022-07-21 05:28:01 | 24
907 | 2022-07-21 06:28:01 | 23.6
908 | 2022-07-21 07:28:01 | 23.2
909 | 2022-07-21 08:28:01 | 22.9
910 | 2022-07-21 09:28:01 | 22.9
911 | 2022-07-21 10:28:01 | 22.9
912 | 2022-07-21 11:28:01 | 23
913 | 2022-07-21 12:28:01 | 23.1
914 | 2022-07-21 13:28:01 | 22.2
915 | 2022-07-21 14:28:01 | 21.5
916 | 2022-07-21 15:28:01 | 21.6
917 | 2022-07-21 16:28:01 | 23
918 | 2022-07-21 17:28:01 | 26.2
919 | 2022-07-21 18:28:01 | 24.7
920 | 2022-07-21 19:28:01 | 25.4
921 | 2022-07-21 20:28:01 | 25.6
922 | 2022-07-21 21:28:01 | 25.5
923 | 2022-07-21 22:28:01 | 25
924 | 2022-07-21 23:28:01 | 24.1
925 | 2022-07-22 00:28:01 | 22.9
926 | 2022-07-22 01:28:01 | 21.8
927 | 2022-07-22 02:28:01 | 20.6
928 | 2022-07-22 03:28:01 | 19.6
929 | 2022-07-22 04:28:01 | 18.7
930 | 2022-07-22 05:28:01 | 18
931 | 2022-07-22 06:28:01 | 17.3
932 | 2022-07-22 07:28:01 | 18.6
933 | 2022-07-22 08:28:01 | 19.2
934 | 2022-07-22 09:28:01 | 19.6
935 | 2022-07-22 10:28:01 | 19.8
936 | 2022-07-22 11:28:01 | 20.1
937 | 2022-07-22 12:28:01 | 20.4
938 | 2022-07-22 13:28:01 | 20.8